# Framework Agreement for the supply and support of time-frequency Equipment

Volume 2: Invitation to Tender

| Date: |  |
| --- | --- |
| Submission Deadline: |  |
| Grant Agreement No.: |  |
| Authors: | GÉANT Procurement & GÉANT Operations |

© GÉANT Association on behalf of the GN4-3N project.

The research leading to these results has received funding from the European Union’s Horizon 2024 research and innovation programme under Grant Agreement No. 856728 (GN4-3N).

1	Guidance notes for applicants	2

2	Evaluation of the ITSFB	4

3	Proposal to build GEANT Time-Frequency links	7

3.1	Mandatory requirements	7

4	Scoring - Technical Requirements	8

4.1	ILAs	9

4.2	Management System	11

5	Scoring - Support and Service Level Requirements	12

5.1	Support and Maintenance	12

5.2	Service Requirements – Services, Service Levels and Service Credits	14

6	Pricing the T/F FRD design	16

6.1	VAT Treatment	18

Annex A: Glossary	19

Annex B:  FRD Implementation Scope, Testing Criteria and Planning Approach	22

# Guidance notes for applicants

- This “Invitation to Submit Final Bids” document (ITSFB) is Part 2 of Volume 2 of a set of what was originally 4 descriptive documents (0 to 3), comprising the documents relating to the final stage of this multi-stage Competitive Dialogue Procedure conducted in accordance with the EC Procurement Directives implemented in the Netherlands by the Dutch Public Procurement Act (Aanbestedingswet 2012, revised 1 July 2016).  The publication of this ITSFB indicates that the Dialogue Process is formally closed.  As with previous documents under this tender, before completing this volume, Bidders should familiarise themselves with the procurement process as described in Volume 0, “Information for Bidders”.  There is no Volume 1 at this stage of the procurement process.

- Please return a completed version of this and all documents and correspondence through the GÉANT e-procurement portal which you can register for at https://www.supply2.geant.org/ in accordance with the guidelines for Submission of Responses given in Volume 0, “Information for Bidders” of this set of Descriptive Documents.

- For the purposes of this procurement exercise, GÉANT means the Customer, as defined in the Definitions in Volume 0, or anyone acting on behalf of the Customer who is seeking to invite suitable Bidders to participate in this procurement process.

- “You”/ “Your” or “Bidder” means the body completing these questions i.e. the legal entity seeking to be invited to the next stage of the procurement process and responsible for the information provided. The ‘Bidder’ is intended to cover any economic operator as defined by the Dutch Public Procurement Act (Aanbestedingswet 2012, revised 1 July 2016) and could be: a registered company; charitable organisation; Voluntary Community and Social Enterprise (VCSE); Special Purpose Vehicle; or other form of entity.

- Bidders must ensure that all questions are completed accurately, concisely and, in the format, requested in accordance with the Requirements set out within this document.  Failure to do so may result in a Bidder’s submission being disqualified. If the question does not apply to you as the Bidder, please state clearly ‘N/A’ and explain why.

- Where a “Yes” or “No” answer is required, Bidders shall mark the relevant checkbox so as not to create ambiguity for evaluators. Any uncertainty should be raised by the Bidders through clarifications via the eProcurement portal before submitting their response.

- Information must be entered into the appropriate answer boxes except where additional documentation is required or specifically requested.

- Should you need to provide additional Appendices in response to the questions, these should be numbered clearly and listed as part of your declaration. A template for providing additional information is provided at Annex A.

- Bidders must not alter any questions set out in the ITSFB as part of their response.  However, as part of the dialogue process, Bidders are invited to provide commentary where they believe they can add additional value to the tender process if a technological or commercial opportunity exists that cannot be catered for within the current drafting of the requirements herein.  Note that it is only during the invitation to dialogue phase of the tender process that such commentary on the questions is possible.  In the final stages (Invitation to Submit Final Bids), amended questions will not be evaluated and a mark equivalent to a FAIL will be applied in that scenario.

- Where a question requires “evidence”, this means exactly that.  Bidders must provide supporting evidence (systems output, reports, other collateral) that backs up the statement or claim being made.  Bidders must not cross-reference their answer to one question in their answer to another, even where there is commonality. Cross-referenced questions will not be evaluated and a mark equivalent to a FAIL will be applied in that scenario.

- Answers must relate to the feature GA date no later than 1 Jan 2020.  Any features discussed that are available after this date should have their GA date stated and GÉANT will consider these items as non-compliant.

- As stated above, Bidders should refer to Volume 0 for all background and contextual information in respect of the project’s scope and processes to be followed.

- Note that GÉANT will carry out scored reviews of equipment functionality during live online demonstrations in order to test key aspects of functionality and operation.   Note that these reviews will take place before the submission date for Final Bids (ITSFB), see para 27 and 34 below.

# Evaluation of the ITSFB

- As set out within Vol 0, GÉANT will carry out an evaluation review of the ITSFB in accordance with the evaluation model published herein.  Bidders will have their responses scored on the basis of the most economically advantageous tender.

- Scores will be calculated applying the scoring criteria in Table 2.1.   The Procurement Team will establish an evaluation panel (which will comprise subject matter experts from within GÉANT and selected NRENS who are party to the resultant Framework Agreements), that will use its collective professional judgement to evaluate responses in accordance with the evaluation criteria, weighted and sub-weighted.

| Evaluation Criteria | Level 1 weighting | Sub criteria | Level 2 sub weighting | Sub- category | Question # | Question details | Level 3 sub weighting per question |
| --- | --- | --- | --- | --- | --- | --- | --- |

Table 2.1:  Evaluation Model

- GÉANT reserves the right to seek further evidence to support technical compliance statements including requesting equipment to be provided for lab testing purposes.

- The Procurement Team will award scores for those questions related to Quality Evaluation Criteria and non-price commercial questions reflecting reasoned professional judgement as to the merits of each answer.

Awards to be made.

- This ITSFB is to determine which of the participating Bidders will be selected to supply and install the T/F network.  The highest scoring bidder overall shall be awarded the Call Off Contracts to supply the new GÉANT network, (subject to relevant due diligence in respect of checking statements made at the preliminary stages of the SQ in Volume 1).

Commercial Evaluation

- Pricing Proposals relate to the GÉANT specific FRD requirements and will be scored in accordance with the information provided below.

- Bidders’ responses to the FRD will be assessed on the cost of the Bill of Materials (BoM) which must draw on components from the Pricing Catalogue.  The BoM must be capable of being linked back to the Pricing Catalogue.  This BoM will be scored based on lowest Total Cost of Ownership, i.e. lowest TCO = highest price score.  Information regarding discounting for volume in respect of the FRD is set out in Q62.

- Bidders are required to respond to the Full Reference Design (FRD) provided in this document by completing an exhaustive Bill of Materials (BoM) that must be capable of being linked back to the pricing submitted in the Pricing Catalogue.

- The Bidder with the lowest overall price will be awarded the maximum available score for a specific component or element of the BoM.  The remaining tenderers shall be awarded a percentage of the maximum available score relative to the best price. For example: Bidder A submits the lowest overall pricing of €250.  Bidder A is awarded the maximum available score – 100%.  Bidder B submits pricing of €500. As the price is twice as expensive as Bidder A’s price, Bidder B is awarded 50% of the maximum available score.

Quality  - Technical and Services Evaluation

- Questions in these categories will be given a mark out of 6 (0 being the lowest and 6 being the highest) in accordance with Table 2.2 below. Each scored question will be weighted in accordance with table 2.1 in order to arrive at a percentage for each question.   Note that there are a number of requirements that have an information requirement as well as a scored element and where this occurs, it is clearly indicated within the specific question.

- Marks will be awarded in accordance with the allocations shown Table 2.2 below. Where specific equipment functions and features are sought, these will be set out in the relevant question and the answers will be scored based on how the solution delivers these functions and features. Bidders should note that their responses should not necessarily be limited to the equipment functions and features listed in the question.

- Where any questions are assessed as obtaining a 0 score, GÉANT shall reject that Bid in full or in part (note that this could relate to the Framework requirements, the GÉANT FRD requirements, or both).

Mandatory Requirements in respect of the GÉANT Specific network (FRD) requirements

- Table 5.1 lists the mandatory requirements that should be applied when building your proposal for GÉANT.  These are all mandatory questions and are pass/fail only. Any failure to meet these requirements will disqualify the Bidder.  Table 5.2 lists desirable, but not mandatory, items that are to be separately costed.

| Score | Criteria | Judgement |
| --- | --- | --- |
| 6 | Response provides a clear and comprehensive solution to GÉANT’s requirements and brings significant added value and benefit to the project, which is supported by evidence (where relevant) and which presents no concerns in relation to deliverability and/or performance and/or transfer of risk to GÉANT. | Exceeds the stated requirements |
| 5 | Response provides a clear and comprehensive solution to GÉANT’s requirements, which is supported by evidence (where relevant) and which presents no concerns in relation to deliverability and/or performance and/or transfer of risk to GÉANT. | Fully meets the stated requirements |
| 3 | Response provides a clear and comprehensive solution to GÉANT’s requirements but there are minor deficiencies in the evidence provided (where relevant) and minor concerns in relation to deliverability and/or performance and/or transfer of risk to GÉANT. | Minor Reservations |
| 1 | Response provides a solution to GÉANT’s requirements but there are major deficiencies in the evidence provided (where relevant) and major concerns in relation to deliverability and/or performance and/or transfer of risk to GÉANT. | Significant Reservations |
| 0 | The response does not meet requirements. | Not Answered / Unacceptable |

Table 2.2:  Scoring Mechanism

# Proposal to build GEANT Time-Frequency links

- GÉANT is seeking proposals in respect of a solution to be built for time-frequency links in the GN5-2 funding cycle.

- The Full Reference Design (FRD) describes a fibre topology and a set of service requirements with supporting functionality.

- The purpose of the FRD is to understand the cost of the Bidders proposals.  We expect the actual build may vary from the FRD, with the FRD giving an appropriate impression of scope and reach.

- The Bidders must provide a costed solution that meets the FRD and the mandatory requirements in table 5.1.  Your response should include:

  - All the mandatory items listed in Table 5.1

  - Completion of the GÉANT Pricing Matrix - this is the itemized pricing within the Bill of Materials (BoM) that must be capable of being referenced back to the Bidders Pricing Catalogue;

  - Additional separately priced desirable items as identified in Table 5.2

- To evaluate the proposals GÉANT will score solutions based on the quality of the technical capabilities of your solution and the cost your solution.  This will be done using the scoring criteria set out in section 3 of this document.

## Mandatory requirements

- Table 3.1 lists the mandatory requirements that should be applied when building your proposal for GÉANT.  These are all mandatory questions and the assessment is pass/fail only. Any failure to meet these requirements will disqualify the Bidder.

| Category | Number | Parameter | Compliance (YES / NO) |
| --- | --- | --- | --- |
| H/W | MR1 | The amplifiers provided must be suitable for bi-directional transmission of time and frequency signals over the C-band. | Choose an item. |
| H/W | MR2 | The proposed solution must support auto restoration of ILA configuration after a power cycle. | Choose an item. |
| H/W | MR3 | The ILA nodes must have dual DC power feeds. | Choose an item. |
| Management | MR4 | The design must include an in-band solution for monitoring and configuring the amplifiers. There will be no remote internet access at the amplifier huts, for this reason an integrated management channel is required. | Choose an item. |
| Management | MR5 | A Command Line Interface (CLI) (or API equivalent) must be provided for configuring the in-line amplifiers. | Choose an item. |
| Management | MR6 | The amplifiers must include monitoring of input and output optical power via the CLI or (via API equivalent). | Choose an item. |
| Management | MR7 | The amplifiers must include SNMP trap reporting, either natively on the amplifiers, or via a centralized Network Management System (NMS). | Choose an item. |
| Management | MR8 | The amplifiers must allow the users to set the gain of the amplifiers remotely via the management interface. | Choose an item. |
| Support | MR9 | All communication between the support personnel and the GÉANT/ Operations Centre must be in the English language to the Common European Framework standard level B2 as a minimum. | Choose an item. |
| Racks |  | MR10 | The Bidder must make use of the racks provided by the optical fibre provider. | Choose an item. |
| Right to use |  | MR11 | The proposed equipment must be legal to use and able to be installed in the countries as indicated here. Maintenance fees are relevant to this country. | Choose an item. |
| End of Support |  | MR12 | The Bidder must confirm that the product range being proposed for the FRD equipment solution being proposed for the GÉANT FRD will not have its support withdrawn within 10 years from the award of the Framework Agreement. | Choose an item. |

Table 3.1:  Mandatory GÉANT FRD requirements

# Scoring - Technical Requirements

- GÉANT and the NRENs are working closely with National Measurement Institutes (NMIs) to develop innovative new time-frequency services which we plan to introduce into our network.  In this section the requirements for a time/frequency distribution optical services is described.

- The system should allow bi-directional operation to support bi-directional optical CW signals for ultra-high-precision frequency distribution.  The solution proposed should be able to carry both White Rabbit signals and ELSTAB time signals.

- The general requirements described in this section will be scored in accordance with the mechanism described in Table 2.2.

- Each question includes guidance to highlight what GÉANT is seeking and where possible, what a good response should include.  Note that Bidders do not have to limit their responses to the guidance and marks are available for responses that exceed the stated requirement, as set out within Table 2.2.

## ILAs

Q1 – ILA general

GÉANT requires In-Line Amplifiers (ILAs) that are capable delivering a low noise performance and are compatible with G.652 and G.655 fibre types and a range of span lengths. Responses should include (but not be limited to) the following aspects; - Amplifiers should be of the type EDFA - Amplifiers should include no directional couplers, so that bidirectional operation is possible. - A list of product models of In-Line Amplifiers (ILAs) available - The highest launch power available for your each EDFA amplifier type. Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q2- C-band, Extended C-band and Super C-band operation

GÉANT requires an ILA that is capable of either C-band, extended C-band or Super C-band operation. Responses should include (but not be limited to) the following aspects: - Describe the gain profile of the ILA across the C-band, extended C-band and Super C-band - What is the specified operating spectrum of the ILA? Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q4 – Link Optical Power Management and power monitoring

GÉANT requires an ILA with gain management and power monitoring functionality. Responses should include (but not be limited to) the following aspects; - A description of the optical power monitoring - A description of optical gain control - A description of user alerts via SNMP or API for link optical power variation Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q5 – Connectors

GÉANT seeks a solution which minimizes the amount of fibre patching between ROADM components to increase reliability and facilitate easy fibre tracking. GEANT mandates the use of APC connectors in the ILAs. Responses should include (but not be limited to) the following aspects; - A description of the connector types available on the equipment Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q6 – Power and form factor

GÉANT seeks a solution which minimizes the amount of fibre patching between ROADM components to increase reliability and facilitate easy fibre tracking. GEANT prefer a compact form factor that fits into typical telco amplifier hut environment. Responses should include (but not be limited to) the following aspects; - Form-factor: mounting in 19” or 21” racks, rack depth, and front or rear access options - The number of RU of rack space needed to fit the amplifier - Describe the typical and maximum power consumption - Describe the number and size of power feeds and AC and DC power feed options. - Temperature operating range for the ILA. Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q7 – Sustainability in respect of Optical Transmission Equipment Design and Manufacture

GÉANT seeks and ILA solutions that provide access to best of breed technology whilst minimizing our environmental impact. Annex G sets out a series of impact areas and associated sustainability requirements related to the manufacture, operation and recycling of Optical Transmission Equipment. Bidders should describe where their products align with these requirements, or highlight where they expressly cannot meet a specific requirement. Responses should include (but not be limited to) the following aspects: - the supply chain associated with the raw materials used to manufacture the equipment; - a completed Annex G describing how your products comply with the specific areas being addressed; - the manufacturing facilities used by the Bidder and how recognition of and compliance with standards (such as ISO14001) are incorporated into the design of the Bidder’s OTE products; - where certain aspects of Annex G are not capable of being met by the Bidder’s product or products, a detailed explanation of the reasons why and the road map to address the issues in the future Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

## Management System

Q8 – Node Management

GÉANT requires ILA solutions that support Node Management. Responses should include (but not be limited to) the following aspects; - Craft terminal support, CLI interface. Describe local management interfaces on the ILA - Configuration – The proposal should include node configuration back up and configuration download/upload. - Node software management, especially, the ability to download new versions of software to the ILAs and nodes. - The ability to restore the original node configuration after hardware upgrade or replacement in the case of a failure - Configuration recover after power cycle – we expect that the configuration will be maintained after a power cycle. Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q9 - Management via OSC channel or similar.

GÉANT requires an solution that includes remote management via an OSC. Responses should include (but not be limited to) the following aspects: - Describe your solution for OSC or similar for remote management of the ILA - Describe any built-in optical filters that will allow an Ethernet OSC channel (or similar) to be applied. Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q10 –Management security

GÉANT seeks ILA equipment solutions that have Network Management Systems with inherent security features. Please describe the network management capabilities with respect to security capabilities: Responses should include (but not be limited to) the following aspects; - SSH access to NMS and Network Elements, via public pki - RADIUS – the proposed node manager should support RADIUS for account login - GUIs (web interfaces, etc.) support TLS - Access control via role-specific functions to be allocated per user on both the NMS and Network Element - Audit trail functionality that includes all access and configuration changes performed on the system identifying the user. Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

# Scoring - Support and Service Level Requirements

## Support and Maintenance

Q11 - Technical Assistance Centre (TAC)

GÉANT requires access to comprehensive technical expertise in respect of the OTE solutions being offered. This requirement relates to MR26.3 and MR 26.6. Describe how we will be supported by your Technical Assistance Centre (TAC). Responses should include (but not be limited to) the following aspects; - a single point of contact for incident reporting; - provide a description of your TAC organizational structure that will be used to facilitate this, including a breakdown of the number of staff available; - provide the physical location of the TAC, and state its operational hours for GÉANT for Optical Transmission Equipment and Software that are within the scope of this tender; - describe the shift pattern for Tier1 and Tier2 engineers and advise whether these engineers are office or home based out of normal business hours; - an explanation of how specific incident reporting is actioned (e.g. portal, email, etc); - describe the TAC workflow for incident handling; - where specific incident reporting requires to be actioned through a portal (or otherwise) fully describe them here; - Describe TAC escalations procedures. Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q12 – Hardware Support, Spares Inventory and First Line Maintenance

- GÉANT requires a comprehensive support model in respect of any installed, operational OTE. - GÉANT FRD coverage requirements are discussed in detail in Section 5. NREN requirements will be primarily restricted to a single country. - Bidders should describe their Hardware Support delivery model (the RMA process) taking account of the aspects defined below: - describe how your spares holding and logistics process will enable you to meet the required Service Level Targets (as described in the SLA section of this document). Responses should include an explanation of the workflow between the Customer, your TAC, and any other third parties (sub-contractors) as applicable, diagnosis/response time etc; - the table below lists all of the countries included in the GÉANT specific FRD. Bidders should complete this and include in their response, to indicate where First Line Maintenance and Spares Parts holding can currently be offered. Where these services cannot currently be offered, please include in your response the processes in place to on-board new partners and to set up new in-country Spares Holding sites. Please indicate in the embedded table the typical timescales required to on-board and train new partners and to set up new Spares Holding; - Please note that some PoPs do not allow replacement units to be shipped to site. In this specific case they must be brought to site by the First Line Maintenance technician and Bidders should explain how they can support this; - Describe in detail how you will ensure that you have adequate spares available to cover multiple failures of the same part in the same country in a short space of time. - Note that countries highlighted yellow in the embedded excel were mandatory requirements in Stage 1 – MR 26.2 - describe in detail how you will ensure that you have adequate spares available to cover multiple failures of the same part in the same country in a short space of time; - explain the process in respect of returning components that have failed in service to the Bidder. Please note that the FLM engineer will be required to remove the failed component from the GÉANT/NREN site and return to the Bidder. Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

## Service Requirements – Services, Service Levels and Service Credits

- GÉANT expects the spares support to be ‘Next Day’. Next Day is defined as spares delivered within the next business day, subject to receipt of request by 15:00 local time of service desk the previous day.

- GÉANT is seeking service guarantees in respect of equipment supply and spares support.  Bidders are required to confirm their commitment to the stated Key Performance Metrics in the table below;

| Incident / Issue / Problem Classification | Definition/Description |
| --- | --- |
| Critical/P1 | Incidents that cause loss of service or continuous instability of mission-critical functionality and have no workaround. Inability to use a feature or functionality that is currently relied upon for mission-critical functionality; for example, extended loss of management. Intermittent issues that affect mission-critical functionality. |
| Major/P2 | Incidents that are service affecting, but not causing loss of service or loss of mission-critical functionality. Loss of redundancy of critical components. |
| Minor/P3 | Incidents that are not impairing /interrupting the service or any mission-critical functionality. Time-sensitive questions or information requests. Information and RFO requests. Standard questions on configuration or functionality of equipment. Non-urgent RMA requests. Cosmetic defects. |

Table 4.1:  Incident classifications

Q13 – Equipment - Reliability and Service Responses Times

GÉANT seeks evidence as to the quality and overall responsiveness of the proposed service. Responses should include (but not be limited to) the following elements: - Evidence (in the form of reporting systems’ output, or reporting documentation, internal tracking system screen shots and/or historical performance reports) of the last year’s statistics for incident rates handled by the Bidder stating the average resolution times for each priority classification of incidents. - For the incidents that required an RMA please state the volume and percentage of incidents outside the agreed SLA; Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

Q14 – Product lifecycle and End-of-Life support

GÉANT requires that all equipment purchased under the Framework Agreements has a clearly defined “end of life” date (captured in the Pricing Catalogue) where it has 5 years or less before being discontinued. Describe how support will be provided for any equipment purchased under the term of this Framework Agreement, that may be, by the end of the term, coming out of formal support. Responses should include (but not be limited to) the following aspects; - provide a clear statement on how the bidder will provide support for end of life equipment; - a description of how the bidder will mitigate or reduce any need to replace end-of-life equipment; - provide real examples of where your organization has done this previously that are relevant; Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Click here to enter text.

# Pricing the T/F FRD design

- GÉANT is seeking proposals to build, commission and support the T/F network.

- The Full Reference Design (FRD) describes the fibre topology and expected ILA locations.

- The FRD is to be used by the Bidders to build the proposed solution.  The following embedded excel file provides the details of the FRD.  Please be aware that the solution that is ultimately built by GÉANT may vary from the FRD as firm fibre information becomes available and refinements need to be made to the topology.

- The purpose of the FRD is to understand the cost of the Bidders proposals.  We expect the actual build may vary from the FRD, with the FRD giving an impression of scope and reach.

- GÉANT expects to provide the successful Bidder with as-built fibre test measurements once these have been handed over to GÉANT.

- We will not be procuring all the dark fibre for the whole network in one go.  We plan to procure dark fibre in stages based on a regional roll-out plan.  The procurement will be staged in such a way to ensure dark fibre availability is coordinated with the network roll out.

- purchasing and implementing the FRD (the BoM) will scored in accordance with paragraphs 19-21 in Section 2.  All other aspects in Q62 are to support the completeness of Bidders’ pricing submissions in respect of the FRD Pricing Matrix in the Annex below.

- Bidders should assume an implementation period that will span at around 24 months and is dependent upon the acquisition of new dark fibre links, which are the subject of a separate tender exercise.

- The Bidders must provide a costed solution that meets the FRD and the mandatory requirements in table 5.1.  Your response should include:

  - A statement of compliance for the mandatory requirements listed in table below.

  - A documented detailing the full design

  - completion of the GÉANT Pricing Matrix - this is the itemized pricing within the Bill of Materials (BoM) that must be capable of being referenced back to the Bidders Pricing Catalogue

- To evaluate the proposals GÉANT will score solutions based on the quality of the technical capabilities of your solution and the cost of your solution.

- Checklist of items required in the pricing

| Parameter | Compliance (YES / NO) |
| --- | --- |
| The Bidder’s solution must include a price for constructing the GÉANT network as described in the FRD. This must include network surveys, delivery, logistics, project management, waste disposal, installation, testing and commissioning to the locations as listed in the Full Reference Design (FRD). The pricing must be fully documented. | Choose an item. |
| The Bidders must complete the ‘FRD pricing matrix’ excel spreadsheet included in the appendix | Choose an item. |
| The bidder must provide a comprehensive pricing catalogue for all hardware, software, support items that are orderable by GEANT. | Choose an item. |
| The Bidder must include the price of all software licence fees for any functions used in their solution | Choose an item. |
| The Bidder’s solution must include any site surveys if these are required. | Choose an item. |
| The Bidders proposal must include the cost of next business day on-site support for all sites identified in the Full Reference Design (FRD). This support will be triggered in the case of a hardware or software fault in the amplifiers that requires on-site action to rectify. | Choose an item. |
| The proposed solution must include the price of preparing documents for: site-survey check list, pre-install check list, site acceptance and handover documents. | Choose an item. |
| The Bidder must create a fully itemized and priced system design which meets all the requirements set out in the FRD. | Choose an item. |
| The Bidder’s solution must include a priced design for a DCN network that allows the ILAs to be managed without the need for separate out-of-band management channels. | Choose an item. |

## VAT Treatment

- Bidders are required to provide evidence of their compliance with applicable VAT legislation in the countries where OTE is to be installed and commissioned ahead of GÉANT taking title following UAT.

- GÉANT has VAT registrations in most of the countries listed in the FRD.  Note that GÉANT does not have VAT registrations in Serbia, Albania, Israel or Finland.

- Bidders will be required to respond on delivery and installation in both EU countries as well as specific reference to those countries listed in the FRD that fall outside of the EU.   Note that GÉANT typically expects the reverse charge mechanism or local VAT to be used, or that the Prime Contractor has a VAT registration in the specific country.

- There are very specific VAT rules relating to supply and install, which vary significantly from one EU country to the next.

Q15 – VAT Compliance - Delivery & Installation of new Equipment, and handling of existing decommissioned equipment

GÉANT requires Bidders to evidence their compliance with relevant VAT and Customs legislation in all the countries listed in the FRD. The Bidder is required to provide information in respect of how they would compliantly supply and install the equipment at the locations specified in the FRD, as well as how existing, decommissioned equipment will be handled. Responses should include (but need not be limited to) the following aspects: - details in respect of the plan for equipment delivery for each site; - confirmatory evidence that equipment to be delivered in one country and driven across a border will be carried out in accordance with the correct VAT treatment for the country in which GÉANT will take ownership of the equipment; Please enter your response in the box below or in a separate Appendix using the template provided at Annex A [Max 4 sides of A4].

Response

Annex A: Glossary

| Term | Definition |
| --- | --- |
| 2016 Regulations | Dutch Public Procurement Act (‘Aanbestedingswet 2012’), revised July 1, 2016 |
| Bidder | A candidate (including consortia or joint venture arrangements) who submits a response to this Invitation To Tender (ITT) |
| Catalogue | See Pricing catalogue. |
| Commencement Date | The later date of the two dates which are made on the signing of this Agreement is signed by both parties |
| Committed Delivery Date (CDD) | the agreed date on which each Service is contracted to be put into operation |
| Contract Notice | Contract Notice published in the Official Journal of the European Union |
| DF | Dark fibre |
| Dialogue | See Competitive dialogue |
| DPS | Dynamic purchasing system |
| ESPD | European Single Procurement Document. A self-declaration of a business’s financial status, abilities and suitability for a public procurement procedure. It is used as a preliminary evidence of fulfilment of the conditions required in public procurement procedures across the EU. |
| Extended Term | has the meaning given in Master Services Agreement (MSA) |
| Final Bid | The bid(s) prepared and submitted by each Bidder in response to the ITT |
| Framework Agreement | An agreement between GÉANT and an equipment vendor that allows GÉANT or an NREN to procure equipment from the vendor |
| Framework Guidance Documentation | The documentation to be used to promulgate the Frameworks to NREN customers setting out the evaluation criteria, weightings, relative positions and ordering procedures that are to be used by customers when placing orders under the agreements. |
| Full Reference Design | This is the reference design provided first as a draft state in the ITSOP and then as a final version in the ITSFB after review with the Bidders in the competitive dialogue phase. The full reference design includes a topology and associated demands that should be used by the Bidder to create a design and related bill of materials. The FRD also stipulates services and licensing to support the design. |
| ILA | In-line amplifier – optical component for amplifying optical signals. |
| Initial Term | has the meaning given in Master Services Agreement (MSA) |
| IRU | Indefeasible right of use |
| IRU Steering Committee | The GÉANT committee that oversees the IRU budget. |
| ITSFB | Invitation to Submit a Final Bid |
| ITSOP | Invitation to Submit an Outline Proposal |
| ITT | Invitation to Tender – this document and any subsequent clarifications, including references all the various Volumes comprising the tender documentation |
| Final Agreement | The agreement that is the outcome of the Competitive Dialogue process. |
| Mandatory requirements | Mandatory technical and support requirements that must be met for the Bidder to qualify |
| MSA | Master Service Agreement – part of the contract documents |
| MTBF | Mean Time Between Failures. |
| MTCR | Mandatory Technical and Commercial Requirements. This document sets out the mandatory requirements that the Bidder must be able to meet before proceeding to the next stage of the GÉANT procurement. |
| MTTR | Mean Time to Repair. |
| Node | A node refers to a network element. A network element is made up of one or more shelves or chassis that are logically represented in the NMS as a single node. |
| NREN | National Research and Education Network that provides national connectivity to universities, colleges, schools and research centres. |
| OC | the GÉANT Operations Centre. |
| OFFER | The offer prepared and submitted by each Bidder in response to the ITT |
| Operational Service Date (OSD) | the date on which each Service is accepted in accordance with Volume 3, Annex 3 |
| Optical Distribution Frame (ODF) | a fibre optic management unit used to organize fibre optic cable connections. |
| Point of Presence (PoP) | a PoP is a building which houses terminal equipment to which the Service are connected |
| Portal | the GÉANT eProcurement Portal available at www.supply2.geant.org |
| Procurement Team | a cross-departmental team from GÉANT established for this procurement |
| Product Roadmap | A description of up-coming features and functions planned for the equipment being offered by the Bidder. |
| Proposed Contract | the terms and conditions being proposed as the basis for a final contract set out in Volume 3 |
| ROADM | Reconfigurable optical add-drop multiplexer |
| SQ | Supplier Questionnaire |
| Simple Reference Design | The Simple Reference Design (SRD) is provided in the MTCR document. It is a topology and associated demands that should be used by the Bidder to create a design and related bill of materials. The SRD also stipulates services and licensing to support the design. |
| Solution | the proposed equipment and associated support, software and licensing that together makes up a solution to meet the requirements defined in the tender documentation. |
| Standstill | A short (at least 10 calendar day) pause between the point when the contract award decision is notified to bidders, and the final contract conclusion, during which time Bidders can challenge the decision. |
| TAC | Means the Bidder’s Technical Assistance Centre in respect of the provision of expert technical support to GÉANT and NREN network engineers. |
| Total Contract Value | Total Contract Value (TCV) is a metric that represents the value of one-time and recurring charges |
| Vendor | A vendor of optical transmission equipment |

Annex B:  FRD Implementation Scope, Testing Criteria and Planning Approach

- The scope of the implementation is described below, for all sites where optical networking equipment will be deployed:

  - Route Design & Bill of Material production

  - Pre-installation Site survey

  - Delivery of Equipment to its site (INCOTERMS DDP)

  - Installation of Optical Transmission Equipment

  - Configuration and Balancing of Optical Transmission Equipment

  - Configuration of Network Management System (NMS) and Network Planning Tool (NPT) (if proposed by the bidder)

  - Testing of Equipment and NMS (and NPT if proposed by the bidder)

  - Acceptance of Optical Transmission Equipment, NMS (and NPT if proposed by the bidder)

  - Removal of all waste/packaging materials from site

  - Supply of agreed acceptance/handover documentation (including training)

  - Post implementation support based in Cambridge Operations Centre (for an agreed period)

- To help achieve the objectives listed above, GÉANT has defined the following work-streams to facilitate the network refresh:

- Pre-Deployment Planning – based upon the bidders proposed Optical Layer design, the bidder should develop detailed site survey templates for equipment site configuration & Visio design templates by site model, detailed project plans, implementation plans with step by step action items pre/during/post implementation, testing plans, staffing plans, communication plan for pre/during/post implementation, operation handover templates following GÉANT guidelines, logistics plan and all other pertinent project management documents to be used for each site deployment.

- Design Engineering & Planning - develop detailed documents describing the final as-built state of the network.

- Site Survey – conduct a pre-installation site survey to document the fibre cabling, HVAC, power and space conditions, along with any potential concerns regarding impact to human health and safety, while adhering to GÉANT change management guidelines.

- Implementation – Full management of  bidder (or Partner)  resources required for the implementation activities (e.g., surveys, equipment/cabling installation, end to end route testing/acceptance, service/trunk migration support (with GÉANT)), coordinating installation times based on site availability and complete installation of new network.

- Testing – Provide required test and acceptance documentation as agreed with GÉANT. Note that Implementation is not complete at any site until GÉANT has Accepted the Implementation at such site in writing. Testing activities to include:

    - Functionality validation

    - Optical Node testing

    - Optical Inter-node Testing

    - Optical end to end BER testing (24 hour)

    - Test Results Handover

    - Root Cause Analysis (of any identified issues)

    - Issue Resolution (of any problems/issues identifying during testing)

- GÉANT will also expect the bidder to install  ILA, ROADM and NMS at the GÉANT lab facility in Cambridge as specified in the FRD. This testbed environment will be used for acceptance and integration testing prior to the first field deployments of the new Optical Transmission Equipment